## Introduction
Financial Model developed by Quantum Leap in Wind program of Asian Development Bank
For questions or reporting errors, please contact: Pramod@i-windenergy.com
Pramod Jain, +1-904-923-6489
Instructions
Step 1 General Info: Fill out general information about wind project
Step 2 Wind farm: Input information about the wind farm.
Plant capacity factor (gross) is the key input. See table in sheet Plant Capacity Factor for checking plant capacity factors for various hub height wind speeds
Ensure that at least 10% loss is used.
Ensure that the computed average annual energy production matches the number provided by developer
Step 3 Financial: Input financial parameters of project
Enter tariff. Items B to I may be zero, depending on country
Enter total installed cost in J. This is total capital investment from start to finish. Finish is first day of commercial operations
Enter total annual cost of operations and maintenance in K. This includes, O&M fees to manufacturer, administrative/personnel costs, land lease payments, insurance, funds for unplanned maintenance
Enter annual escalation in O&M cost in L.
If you would like to enter annual costs that are lower in first few years because of manufacturer warranty, then please contact Pramod Jain
Enter debt related items in M to O. Make sure the numbers are reasonable--More than 70% is rare. If debt is from local sources, interest rate should match commercial loan rates. If debt is from international sources, verify interest rate
Enter equity terms in P to Q. Make sure the numbers are reasonable. Local/international equity owner will expect at least 5% over prevailing local/international loan rates for about 10 years.
Enter discount rate for R to V. Make sure the numbers are reasonable. NPV for equity investment/cash flow should be equal to expected equity rate of return in Q. Enter rest of parameters
Enter modified IRR parameters. Finance rate is interest rate for short- to mid-term loans. Reinvest rate is the interest rate for short- to mid-term deposits.
Summary Results
All the results in this sheet are computed based on input, except the LCOE (Levelized cost of energy). Click on the button "Calc LCOE" in order to compute LCOE
Uncertainty Analysis
Enter the overall uncertainty in annual energy production of the wind project. Wind Resource Assessment report from developer should contain this number. Guidelines for uncertainty are in cell D2
Results in B10 to E21 are not computed automatically, Click on button "Calc Uncertainty" to compute uncertainty.
Detailed Yearly Proforma
This worksheet contains detailed calculations. User should not change anything in this sheet.

## Step 1 General Info
| Item | Data
A | Name of the Project | San Lorenzo Wind farm
B | Name of the Developer | TransAsia
C | Location of project (lat/long)
D | Name of town/village
E | Name of province
F | Size of land (Hectares)

## Step 2 Wind farm
| Item | Data
A | Number of turbines | 15
B | Rated Capacity of turbines (MW) | 2
C | Total Size of Wind farm (MW) | 30
D | Hub height (m) | 70
E | Rotor diameter (m) | 82
F | Turbine manufacturer | Vestas
G | Turbine model | V82
H | Plant capacity factor (gross) | 29.7%
I | Plant losses | 7.5%
J | Plant capacity factor (net) | 27.47%
K | Average Annual Energy Production (MWh) | 63534.0024

## Step 3 Financial
REVENUE
A | Tariff ($/kWh) | 0.20654
B | Annual increase in tariff (%) | 0%
C | Renewable Energy Credits + Carbon Credits ($/kWh) | 0
D | Annual increase in value of credits (%) | 0%
E | Production tax credit ($/kWh) | 0
F | Duration of PTC (yrs) | 0
G | Annual increase of PTC (%) | 0%
H | Investment tax credit (%) | 0%
I | Duration of ITC (yrs) | 0
TOTAL CAPITAL COST
J | Total installed cost ($/kW) | 2500
TOTAL RECURRING COST
K | Total Operations & Maintenance cost ($/kWh) | 0.035414
L | Annual increase in O&M cost | 0%
FINANCIAL PARAMETERS
M | Debt (%) | 65%
N | Interest rate (%) | 10%
O | Duration of loan (years) | 10
P | Equity (%) | 35%
Q | Expected Equity rate of return (%) | 16.44%
R | Discount rate of NPV | 10%
S | Inflation | 4%
T | Tax rate | 10%
U | Method of depreciation | Straight line
V | Years of depreciation | 20
W | Expected life of wind project | 20
X | Modified IRR finance rate | 10%
Y | Modified IRR reinvest rate | 5%
Note on B7: pramod: Production tax credit is a generation-based incentive in USA & other countries.
Note on B8: pramod: Number of years PTC or generation based incentive is available
Note on B15: pramod: Total capital cost of wind farm. This is cost from start to commissioning of wind park
Note on B18: pramod: Cost of scheduled maintenance, insurance, administration, labor, etc. Do not include: Interest, depreciation
Note on B27: pramod: Equity IRR is not used in computation. It is used to compare against the computed equity IRR

## Summary Results
Item | Output
Total average annual energy production (MWh) | 63534.0024
Total average annual revenue | 13122.1559
Total installed cost (in '000) | 75000
Total annual O&M cost (year 1) | 2250
Total annual principal + interest payment | 7933.838
Total annual depreciation (year 1) | 3750
Levelized cost of energy (20 years) | 0.17729
Equity Internal rate of return (20 years) | 15.3%
Equity Simple payback period (years) | 10
Net Present Value (20 years) | 13766.282
Minimum Debt Service Coverage Ratio (DSCR) | 1.2897
Average DSCR | 1.3486

## Uncertainty Analysis
Overall uncertainty in annual energy production | 12% |  | Guidelines: 20% if no wind measurement or wind measurement with <50m met-tower or less than one year of measurement data at 50m, plain terrain
15% if wind measurement with met-mast 50m or higher, with low correlation of measured vs long-term reference data; plain terrain
12% if wind measurement with met-mast 50m or higher, with high correlation of measured vs long-term reference data; plain terrain
Item | P50 | P84 | P90 | P95
Total average annual energy production (MWh) | 72197.73 | 63534.0024 | 61108.1587 | 57945.8981
Total average annual revenue | 14911.5408 | 13122.1559 | 12621.1282 | 11968.0027
Total installed cost (in '000) | 75000 | 75000 | 75000 | 75000
Total annual O&M cost (year 1) | 2250 | 2250 | 2250 | 2250
Total annual principal + interest payment | 7933.838 | 7933.838 | 7933.838 | 7933.838
Total annual depreciation (year 1) | 3750 | 3750 | 3750 | 3750
Levelized cost of energy (20 years) | 0.15601 | 0.17729 | 0.18433 | 0.19439
Equity Internal rate of return (20 years) | 20.72% | 15.3% | 13.84% | 11.97%
Equity Simple payback period (years) | 6 | 10 | 11 | 12
Net Present Value (20 years) | 27022.4508 | 13766.282 | 10054.5547 | 5216.0531
Minimum Debt Service Coverage Ratio (DSCR) | 1.4927 | 1.2897 | 1.2328 | 1.1587
Average DSCR | 1.5673 | 1.3486 | 1.2873 | 1.2074

## Detailed Yearly Proforma
Project Name | San Lorenzo Wind farm
Years --> | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Total Installed Project Cost in '000 | 75000 | [19 empty] | All the results are computed assuming life of project=20 years
CAPITAL EXPENDITURES
Equity Investment (Project Cost Less Debt & Grants) | 26250
REVENUES
MWh/yr |  | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024 | 63534.0024
PPA Rate ($/kWh) | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654 | 0.20654
Electricity Sales Revenue per PPA |  | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559
Green Tag Rate ($/kWh) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green Tag Sales Revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Annual Revenues |  | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559 | 13122.1559
EXPENSES
Operations & Maintenance |  | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250
Operations & Maintenance Contingency Fund
Other Expense
Total Annual Operating Expenses |  | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250
EBITDA & Taxable Income
EBITDA (Operating Income) |  | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559
Depreciation |  | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 0 | 0 | 0 | 0 | 0
Debt Interest Payment |  | 4875 | 4569.1162 | 4232.644 | 3862.5246 | 3455.3933 | 3007.5488 | 2514.9199 | 1973.0281 | 1376.9471 | 721.258 | 3.7289e-12 | 3.7289e-12 | 3.7289e-12 | 3.7289e-12 | 3.7289e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Annual Expenses |  | 10875 | 10569.1162 | 10232.644 | 9862.5246 | 9455.3933 | 9007.5488 | 8514.9199 | 7973.0281 | 7376.9471 | 6721.258 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 2250 | 2250 | 2250 | 2250 | 2250
Taxable Income |  | 2247.1559 | 2553.0397 | 2889.5119 | 3259.6313 | 3666.7627 | 4114.6071 | 4607.2361 | 5149.1279 | 5745.2089 | 6400.8979 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 7122.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559 | 10872.1559
TAXES
Local Owner Income Tax Benefit/(Liability) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -514.9128 | -574.5209 | -640.0898 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -1087.2156 | -1087.2156 | -1087.2156 | -1087.2156 | -1087.2156
Production Tax Credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit (Lump Sum) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Tax Benefit/(Liability) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -514.9128 | -574.5209 | -640.0898 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -712.2156 | -1087.2156 | -1087.2156 | -1087.2156 | -1087.2156 | -1087.2156
After-tax profit |  | 2247.1559 | 2553.0397 | 2889.5119 | 3259.6313 | 3666.7627 | 4114.6071 | 4607.2361 | 4634.2151 | 5170.688 | 5760.8081 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 6409.9403 | 9784.9403 | 9784.9403 | 9784.9403 | 9784.9403 | 9784.9403
AFTER-TAX CASH FLOWS
Add Back Depreciation |  | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 0 | 0 | 0 | 0 | 0
Less Debt Principal Payment |  | 3058.838 | 3364.7218 | 3701.194 | 4071.3134 | 4478.4447 | 4926.2892 | 5418.9181 | 5960.8099 | 6556.8909 | 7212.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net After-Tax Project Cash Flow | -26250 | 2938.3179 | 2938.3179 | 2938.3179 | 2938.3179 | 2938.3179 | 2938.3179 | 2938.3179 | 2423.4052 | 2363.7971 | 2298.2281 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 10159.9403 | 9784.9403 | 9784.9403 | 9784.9403 | 9784.9403 | 9784.9403
Local Owner Return | -26250 | -23311.6821 | -20373.3641 | -17435.0462 | -14496.7282 | -11558.4103 | -8620.0923 | -5681.7744 | -3258.3692 | -894.5722 | 1403.656 | 11563.5963 | 21723.5367 | 31883.477 | 42043.4174 | 52203.3577 | 62363.2981 | 72523.2384 | 82683.1788 | 92843.1191 | 103003.0595 | 112787.9998 | 122572.9402 | 132357.8805 | 142142.8209 | 151927.7612
Accumulated Liquidity | -75000 | -72061.6821 | -69123.3641 | -66185.0462 | -63246.7282 | -60308.4103 | -57370.0923 | -54431.7744 | -52008.3692 | -49644.5722 | -47346.344 | -37186.4037 | -27026.4633 | -16866.523 | -6706.5826 | 3453.3577 | 13613.2981 | 23773.2384 | 33933.1788 | 44093.1191 | 54253.0595 | 64037.9998 | 73822.9402 | 83607.8805 | 93392.8209 | 103177.7612
FINANCIAL METRICS
NPV (20 Years) | 13766.282
IRR, 20 years | 15.3%
mIRR (20 Years) | 10.26%
Simple Equity Payback Period | 10
NPV (25 Years) | 18778.6292
IRR, 25 years | 16.13%
mIRR (25 Years) | 10.09%
Minimum DSCR | 1.2897
Average DSCR | 1.3486
Debt Service Schedule
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Beginning Balance ('000) | 48750 | 45691.162 | 42326.4402 | 38625.2462 | 34553.9328 | 30075.4881 | 25149.1989 | 19730.2808 | 13769.4709 | 7212.58 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11
Interest Payment ('000) | 4875 | 4569.1162 | 4232.644 | 3862.5246 | 3455.3933 | 3007.5488 | 2514.9199 | 1973.0281 | 1376.9471 | 721.258 | 3.7289e-12 | 3.7289e-12 | 3.7289e-12 | 3.7289e-12 | 3.7289e-12
Principal Payment ('000) | 3058.838 | 3364.7218 | 3701.194 | 4071.3134 | 4478.4447 | 4926.2892 | 5418.9181 | 5960.8099 | 6556.8909 | 7212.58 | 0 | 0 | 0 | 0 | 0
Ending Balance ('000) | 45691.162 | 42326.4402 | 38625.2462 | 34553.9328 | 30075.4881 | 25149.1989 | 19730.2808 | 13769.4709 | 7212.58 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11 | 3.7289e-11
DSCR | 1.3704 | 1.3704 | 1.3704 | 1.3704 | 1.3704 | 1.3704 | 1.3704 | 1.3055 | 1.2979 | 1.2897
Installment Payment ('000) | 7933.838
Principal ('000) | 48750 |  | 0.25937
number of payments | 10 |  | 1.5937
interest rate | 10%
Depreciation - Modified Accelerated Cost Recovery System
Net Book Value ('000) | 75000
Mid-Point of Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Beginning Value ('000) | 75000 | 71250 | 67500 | 63750 | 60000 | 56250 | 52500 | 48750 | 45000 | 41250 | 37500 | 33750 | 30000 | 26250 | 22500 | 18750 | 15000 | 11250 | 7500 | 3750
MACRS Schedule | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5%
Depreciation ('000) | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750 | 3750
Ending Value ('000) | 71250 | 67500 | 63750 | 60000 | 56250 | 52500 | 48750 | 45000 | 41250 | 37500 | 33750 | 30000 | 26250 | 22500 | 18750 | 15000 | 11250 | 7500 | 3750 | 0
Total Depreciation ('000) | 75000

## Plant Capacity Factor
Average annual wind speed at hub height | Gross Plant Capacity Factor* | Turbine Class
m/s
6.5 | 29% | III
7 | 33% | III
7.5 | 38% | III
8 | 40% | II
8.5 | 42% | II
9 | 45% | II
9.5 | 48.5% | II
10 | 50% | I
* must take out losses to compute net capacity factor. Typical losses are > 10%
This table is a crude estimate and should be used only for approximations. Turbulence is ignored. Reasonably accurate capacity factors may be found after a rigorous analysis of wind data, selection of turbine, and turbine manufacturer provided turbine production curve.